POWER FLOW CASE
DIFF ENGINE

Help Document and Architecture Guide

Compare network models, quantify solved-state differences, and prioritize investigation

| Document field | Value |
| --- | --- |
| Author | Kashyap V |
| Date | 14 October 2026 |
| Version | 1.0 - source-aligned architecture and onboarding guide |

Contents

1. Executive summary	3

2. Design philosophy and comparison definition	4

2.1 Formal definition of difference	4

2.2 Three statuses that must not be conflated	4

2.3 Pre-checks before comparing	4

2.4 Metrics, Exceptions and early termination actions	5

2.5 High-level architecture	6

Definition of ‘Compare’	7

3. Data model and input formats	8

3.1 Actual canonicalization strategy in the supplied source	8

3.2 Rationale for using Panda Power as the canonical model	8

3.3 Current file formats versus planned formats	8

4. Component matching and alignment	9

4.1 Definition of Matching	9

4.2 Component-specific rules and risks	9

5. Metrics and computations	10

5.1 Metrics configured	10

5.2 Mathematical definitions and interpretation	10

5.4 Aggregation, relative deltas and distribution statistics	11

5.5 Thresholds and significance	11

6. Summaries and human-readable insights	12

6.1 Existing deterministic insight/report layers	12

6.2 Message templates	12

7. Architecture and implementation details	13

7.1 Module-wise responsibilities	13

7.2 Complexity and memory analysis	13

7.3 Scaling from 1k to 100k+ buses	14

8 Assumptions, Limitations and Future Work	15

9. AI Assistance	16

9.1 AI-Assisted Development and Engineering Ownership	16

9.2 Prompt and conversation provenance	16

ANNEX I: Sample HTML and Text report	17

# 1. Executive summary

The Power Flow Case Diff Engine compares two solved power-system cases, potentially produced by different solvers or by different model/configuration revisions. It converts supported inputs into a common Panda Power-based representation, derives MATPOWER/PYPOWER case arrays, constructs sparse bus-admittance matrices (Ybus), evaluates model and solved-state metrics, aggregates mismatches, and generates deterministic reports with investigation priorities. The purpose is to show where and how two solutions differ, whether a row-wise comparison is defensible, and which discrepancies merit attention first.

The code is organized around a calling function in src/Main.py and a CaseDiffEngine.compare() orchestrator. Canonicalization adapters exist for MATPOWER and Panda Power inputs. There are placeholders for PSS/E, PowSyBl and PyPSA adapters, but only MATPOWER and Panda Power are implemented in this release. The current engine’s primary network-equivalence test is the sparse Ybus comparison followed by gen and load parameters. State metrics compare voltage magnitude/angle, generator P/Q, load P/Q, branch-end P/Q and derived apparent power/loss measures. These asset metrics are configurable through config/metrics.csv. System-level summaries calculate generation, load, branch losses, balance residuals, and voltage/angle extrema.

The result is intended for power-system engineers validating solver translations, case conversions, model revisions and solved-state consistency. Outputs include a text report, a statistical-insights HTML report, an optional side-by-side Excel workbook. A pseudocode for AI narrative is attempted but not thoroughly implemented due to token constraints.

| Outcome stages | What it means in this implementation |
| --- | --- |
| Model match | Sparse Ybus dimensions, Ybus sparsity pattern and Ybus values within the configured Ybus tolerance, Model metadata match within tolerances |
| Results comparable | Only when pre-checks establish compatible Ybus matrix shape/topology and matching model asset counts |
| Results match | All performed enabled state-metadata comparisons report match |
| Investigation focus | Mismatches are ranked, summarized by metric and asset group, and interpreted using prevalence, tail statistics, direction and affected-asset counts. |
| Assumption | The current identity model relies on canonical row ordering and fixed 1:1 correspondence. Complex remapping, circuit identity and topology transformations remain future work. |

# 2. Design philosophy and comparison definition

## 2.1 Formal definition of difference

Let Case A and Case B denote solved network models with model data M_A/M_B and state vectors x_A/x_B. Model is the asset’s modelling parameters that are fed to a power flow engine, while state are the power flow results obtained. A file containing both of these details forms the input to this comparison engine. A comparison is valid only after a correspondence map π aligns each comparable asset and metric k has compatible units, reference conventions and availability in both cases. The current working assumption is a fixed 1:1 bus map and stable canonical row ordering; π is therefore implicit in the canonicalization/alignment process rather than a general graph-isomorphism solver.

For a numeric scalar metric f_k, the signed change is Δ_k(i) = f_k(B, π(i)) − f_k(A, i). Its discrepancy magnitude is d_k(i) = |Δ_k(i)| for ordinary numeric fields. For phase angles, the wrapped signed difference is Δθ = ((θ_B − θ_A + 180°) mod 360°) − 180°, and the comparison magnitude is |Δθ|. A component is a mismatch when d_k(i) > τ_k; it is severe when d_k(i) > σ_k, where τ_k is the metric tolerance and σ_k is its severe threshold. These are strict greater-than comparisons in the current metadata comparator.

The result is not a single scalar alone. It is a layered assessment: (1) can the cases be compared? (2) does the network model match under Ybus plus enabled model metrics? (3) do enabled solved-state metrics match? (4) what is the distribution and concentration of differences? (5) what should an engineer inspect first? This separation prevents missing or incompatible observations from being silently treated as matches.

## 2.2 Three statuses that must not be conflated

| Status concept | Definition / gate | Interpretation |
| --- | --- | --- |
| Comparable | - Ybus comparison completed: matrix shape and sparsity/topology are compatible - Asset counts align. | If false, the pipeline returns a validation reason and does not claim state equality. |
| Model match | - Ybus values are within y_pu_tolerance - Model asset metrics are a MATCH. | Measures network-equivalent model representation within defined tests; not proof of every possible model field. |
| Solved-state match | - All state metrics are a MATCH. | A metric can be MISMATCH or SEVERE MISMATCH despite valid comparability. NOT PERFORMED is an unavailable diagnostic, not MATCH. |

## 2.3 Pre-checks before comparing

| Pre-check | Why it matters | Current behavior / action |
| --- | --- | --- |
| Input format and path | The adapter must interpret the source correctly and the file must exist. | Config validates path existence and currently allows MATPOWER and Panda Power only. Unsupported selections fail before conversion. |
| Required tables and columns | Avoid comparing missing, renamed or semantically different fields. | A validation checks model/result tables and a set of required columns; missing requirements are surfaced as a failure and the engine gracefully exits. |
| Canonical representation | Units, row order and branch representation must be consistent. | Inputs are converted into a Panda Power net; lines/transformers are normalized into impedance/res_impedance; external-grid generation is merged into res_gen. |
| PPC conversion and Ybus construction | Ybus is the main structural/electrical comparison gate. | Each canonical network is converted to PPC to make the model comparison easier, and a then sparse Ybus is constructed from the PPC. A failure carries action/error metadata. |
| Bus count, topology and asset count | A same-length vector is not a valid correspondence if graph structure differs. | Ybus shape and sparsity pattern are compared. The model checker also compares the bus/branch/load/generation counts as available. |
| Solved-state availability | A model without solved result tables cannot support state comparisons. | Required result tables are checked as a validation; missing table/column extraction becomes NOT PERFORMED or action failure depending on stage. |

## 2.4 Metrics, Exceptions and early termination actions

Unmatched component counts: stop state comparison when model comparability is false; report the asset class and both counts. Do not pad arrays or pair rows arbitrarily.

Missing metric/source/column: emit NOT PERFORMED with a concrete reason and retain overall report generation. Do not convert missing information into zero.

NaN/Inf: numeric comparison uses a finite-pair mask. Invalid pairs are excluded from numeric statistics; if no valid pair remains, status is NOT PERFORMED. The report should expose valid/invalid counts explicitly in a future schema.

Angle wraparound: compare on the shortest signed path around the 360-degree boundary, so 179° and -179° differ by 2°, not 358°.

Zero denominators in relative and loss percentages: return a non-finite result or omit relative statistics when mathematically undefined; explain the unavailable value rather than reporting infinity as an engineering finding.

Numerical divergence or unsolved inputs: this engine compares supplied solved states; it does not currently re-run two arbitrary power-flow solvers to certify convergence. Reject or annotate cases whose result tables are missing or invalid.

## 2.5 High-level architecture

Case A
(any format)

Case B
(any format)

Case A
(NET format)

Case B
(NET format)

Report and Exit

Canonicalize (common format)

Fail

Compare Y Bus matrix

Compare Gen and Load model data

Compare Bus & Branch model data

Match

Mismatch

Fail

Generate Y Bus matrix

State comparability check

Fail

MODEL COMPARE

Compare Bus, Branch, Load and Gen power-flow results

Derive and compare system-level parameters

Identify severe mismatches

STATE COMPARE

Generate insights from mismatches

### Definition of ‘Compare’

Case A

Case B

Mismatch = Case B – Case A

For each asset-type in 
[Bus, Branch, Load, Gen]

Generate stats from data and mismatch

Aggregate statistics

DEFINITION OF COMPARE

All Asset-types compared?

END

Following the comparison of each asset, the system level derived parameters are also compared in a similar approach.

The mismatch (delta), statistics and aggregates are loaded into the insight-generator to convert into numerical and statistical insights.

# 3. Data model and input formats

## 3.1 Actual canonicalization strategy in the supplied source

The project’s canonicalization path loads/normalizes multiple sources into a Panda Power net, exports canonical CSV tables when configured, converts that net to a MATPOWER/PYPOWER case dictionary (PPC) for model/Ybus analysis, and uses pandas result tables for solved-state extraction.

## 3.2 Rationale for using Panda Power as the canonical model

The engine deliberately uses the Panda Power network representation (net) as its canonical in-memory representation rather than introducing a separate, engine-owned canonical network data model. This decision was made to reduce unnecessary implementation complexity, reuse an established power-system modelling framework, and preserve access to capabilities that may become useful as the project evolves.

The primary reasons are:

Reduced duplication: A separate canonical network model would require additional data structures, conversion logic, validation rules and synchronization between the engine's representation and the underlying power-system model. Using Panda Power avoids introducing another complete representation solely for comparison purposes.

Existing power-system data model: Panda Power provides structured tables for network elements and their associated attributes. Its representation provides a common working model for normalizing supported input cases and extracting model and solved-state information.

Access to PPC and Ybus: The engine can convert the Panda Power network into a MATPOWER/PYPOWER-compatible case representation (PPC) and use the corresponding sparse bus-admittance matrix, Ybus, for electrical network comparison. This supports the existing architecture, in which Ybus comparison is a primary network-equivalence check.

Future analytical capabilities: Retaining the Panda Power network makes it possible to consider additional Panda Power functionality without first introducing another network-model conversion layer. For example, a future use case could require an independent reference AC power-flow calculation using Panda Power.

Pragmatic implementation scope: The design concentrates engineering effort on comparison semantics, metric evaluation, mismatch analysis and reporting rather than re-implementing capabilities already available in the chosen library.

## 3.3 Current file formats versus planned formats

| Format | Observed status in archive | Developer note |
| --- | --- | --- |
| MATPOWER / .mat pathway | Implemented adapter function mp_to_canonical and included in settings example. | Uses MATPOWER/PYPOWER structures and converts to Panda Power. Validate assumptions such as one slack generator, bus-number conventions, and gencost handling. |
| Panda Power JSON | Implemented pp_to_canonical. | Normalizes branch/trafo into impedance/res_impedance and merges external-grid solved output into res_gen. |
| PSS/E RAW | Registry entry exists; adapter raises NotImplementedError. | Not implemented, placeholder provided for scalability |
| PowSyBl | Registry entry exists; adapter raises NotImplementedError. | Not implemented, placeholder provided for scalability |
| PyPSA | Registry entry exists; adapter raises NotImplementedError. | Not implemented, placeholder provided for scalability |

# 4. Component matching and alignment

## 4.1 Definition of Matching

The project assumes fixed 1:1 correspondence and does not provide a general-purpose graph-isomorphism or bus-renumbering algorithm. Canonicalization and row ordering form the alignment contract, and the metadata comparator compares equal-shaped arrays position by position. A shape mismatch becomes NOT PERFORMED rather than being silently truncated.

- For topology, the primary test is the Ybus sparsity pattern after conversion.

- For branch canonicalization, the Panda Power adapter consolidates lines and transformers to impedance rows, orders each endpoint pair consistently, swaps from/to flow outputs where the endpoint order is swapped, and sorts by from/to pair.

- For generation, external-grid and generator solved outputs are concatenated and sorted by bus.

- For loads in MATPOWER model data, demand is treated as bus-level PD/QD and only non-zero-load buses are selected.

## 4.2 Component-specific rules and risks

| Component | Present behavior | Limitation identified / future scope |
| --- | --- | --- |
| Bus | Rows become canonical Panda Power buses; PPC BUS_I is compared exactly in configured model metrics; Ybus shape checks bus count. | Cross-format external bus identifiers can be remapped to row indices. Fixed map is an assumption, not inferred identity. |
| Branch | Endpoint columns are canonicalized; Ybus sparsity/value comparison tests electrical connectivity/admittance. Branch R/X/B are metadata metrics. | Parallel circuits with the same endpoints can be ambiguous without circuit IDs. Tap/phase-shift/status coverage depends on metadata rows and conversion. |
| Generator | Model metrics compare mapped bus and configured P/Q limits/setpoints; solved state compares P/Q. | Multiple generators at one bus can be ambiguous as row sorting does not preserve stable unit identity. |
| Load | Model comparisons use bus-level P/Q from PPC; state comparisons use res_load rows. | A many-load-to-one-bus conversion can change row granularity. To identify whether the metric is per load or aggregated by bus before comparing. |
| Shunt | Conversion exists for MATPOWER shunts, but no enabled shunt scope in supplied metrics.csv. | Add stable IDs, susceptance/conductance unit normalization and explicit comparison rules. |
| Branch orientation | The canonicalizer swaps endpoint order and swaps P/Q from/to flow columns when needed. | The generic matcher still assumes that the resulting rows are aligned; swapped terminals in arbitrary formats must be verified in adapter tests. |

# 5. Metrics and computations

## 5.1 Metrics configured

| Scope / asset | Enabled configured measures | Current status |
| --- | --- | --- |
| Model / bus | BUS_I exact (bus ID) in PPC. Optional BASE_KV and BUS_TYPE rows exist but are disabled. | Supplemental metadata diagnostic; Ybus remains primary model gate. |
| Model / branch | F_BUS, T_BUS exact; BR_R, BR_X, BR_B absolute. | Rates/angles/tap are not currently enabled in metrics.csv. |
| Model / load | Bus ID exact; PD and QD absolute, restricted to non-zero demand buses. | MATPOWER PPC load representation is bus aggregated. |
| Model / generation | GEN_BUS exact; PG, PMAX, PMIN, VG, QMAX, QMIN absolute. | P/Q generation rows align by canonical order. |
| State / bus | vm_pu absolute; va_degree wrapped-angle comparison. | Tolerance 0.01 for both; angle severe threshold 3 degrees, VM severe threshold 0.01 pu in supplied metrics. |
| State / generation | P, Q and derived active-generation share. | Share uses 100 * p_mw / sum(p_mw); TODO: undefined zero totals need explicit review. |
| State / load | P and Q. |  |
| State / branch | P/Q at both ends; S at both ends; P/Q losses and percent losses. | Uses res_impedance; loading percent is not configured as instructed. |
| System summary | Total generation/load P/Q, branch loss P/Q, balance residuals, voltage and angle min/max with bus IDs. | Calculated separately from per-asset metric comparisons. |

## 5.2 Mathematical definitions and interpretation

| Metric | Formula |
| --- | --- |
| Voltage magnitude | ΔV_i = V_i^B − V_i^A; discrepancy = ¦ΔV_i¦. |
| Voltage angle | Δθ_i = ((θ_i^B − θ_i^A + 180°) mod 360°) − 180°. |
| Generation / load P,Q | ΔP_i = P_i^B − P_i^A; ΔQ_i = Q_i^B − Q_i^A. |
| Apparent power | S = √(P² + Q²), evaluated per branch terminal; ΔS = S_B − S_A. |
| Branch losses | P_loss = P_from + P_to; Q_loss = Q_from + Q_to. Compare Δloss = loss_B − loss_A. |
| Loss percentage | 100 × (P_from + P_to) / max(¦P_from¦, ¦P_to¦); analogous for Q. |
| Current magnitude | ¦I¦ = ¦S¦ / (√3 V_LL) for a balanced 3-phase element when S is MVA and V_LL is kV, yielding kA. In per-unit, ¦I_pu¦ = ¦S_pu¦ / ¦V_pu¦. |
| Branch loading percent | 100 × ¦S_terminal¦ / S_rating,MVA. |
| Ybus difference | ΔY = Y_B − Y_A; count entries with ¦ΔY_ij¦ > τ_Y and maximum absolute difference. |

## 5.4 Aggregation, relative deltas and distribution statistics

| Statistic | Definition / use | Purpose |
| --- | --- | --- |
| Mismatch rate | 100 × mismatch_count / comparable_count. | Estimate of extent of mismatch |
| Mean/min/median/max absolute delta | Distribution of ¦delta¦ including zero deltas from matches. | Stats for numerical insights |
| P90/P95/P99 | Tail severity and concentration; useful where maxima alone are noisy. | Indicator of distribution of mismatch |
| MAD | Median absolute deviation from median; | Indicator of dispersion. |
| Relative delta | 100 × absolute_delta / max(¦A¦, ¦B¦). | Highlights patterns in mismatch |
| Signed direction | Signed delta B − A over mismatches; positive/negative counts and median/mean. | Hints at cause of mismatch, unidirection could be scaling / offset while bidirectional could indicate a more complex cause. |
| TODO: RMS | RMS = sqrt(mean(delta²)) | TODO |

## 5.5 Thresholds and significance

Thresholds are configured in config/metrics.csv as per-metric tolerance and severe_threshold values. The default values are engineering/configuration choices, not universal standards.

The comparator classifies an individual metric as mismatch only when delta > tolerance and severe only when delta > severe_threshold. At equality, it is not an exceedance. When report_all_mismatches is enabled, the code replaces severe thresholds with the configured tolerance to expose all mismatches under the severe-ranked list.

Statistical insight are heuristically set up:

- <=5% affected assets described as localized;

- >=50% as widespread;

- Ratios such as P95/median and max/P95 describe the distribution shape instead of trying to guess root cause or operational limit violation.

- N no thermal or voltage limits are explicitly supplied, as instructed.

# 6. Summaries and human-readable insights

## 6.1 Existing deterministic insight/report layers

- The engine writes a deterministic comparison_report.txt. The report separates executive status, model summary, solved-state summary, engineering insights, statistical insights and investigation priorities. The statistical insight helper groups findings into model, power_flow and overall categories. It interprets mismatch prevalence, dominant asset types, parameter patterns, relative-delta tails, directional patterns and asset-level outliers.

- An excel with asset-wise mismatch of each parameter is provided for excel-proficient users wanting a visual comparison and option to draw further insights

- A self-contained HTML rendering adds filterable metric cards, top deltas and explanatory labels.

- A placeholder for optional AI engineering report packages compact evidence and requires schema-valid findings tied to evidence IDs; it is disabled by default and is intended for hypothesis generation only.

## 6.2 Message templates

| Condition | Human-readable template | Action |
| --- | --- | --- |
| No performed mismatch | “All performed {scope} metrics matched within their configured tolerances. {n} values were compared; no valid mismatch was detected.” | Record the versions, metric profile and caveat that disabled/not-performed metrics were not assessed. |
| Localized mismatch | “{affected}/{asset_count} {asset_type} assets ({percent:.1f}%) are affected, with the largest {metric} discrepancy at {asset_id}: A={a}, B={b}, ¦Δ¦={delta} {unit}.” | Inspect the listed asset and compare its input record, units, status and controls. |
| Widespread directional change | “{positive_percent:.1f}% of mismatching {metric} values are higher in Case B; median signed change is {median_delta} {unit}.” | Check consistent case-level scaling, reference conventions and source extraction. |
| Upper-tail concentration | “P95 is {p95} {unit} while maximum is {maximum} {unit}; the tail is concentrated more strongly than the typical difference suggests.” | Review top-ranked deltas and whether the asset alignment is valid. |
| Not comparable | “Solved-state comparison was not performed: {reason}. Case A count={a_count}, Case B count={b_count}; Ybus status={ybus_status}.” | Fix model/map differences before interpreting state metrics. |

# 7. Architecture and implementation details

## 7.1 Module-wise responsibilities

| Module | Key functions / types | Role |
| --- | --- | --- |
| Main.py | CaseDiffEngine.__init__(config), CaseDiffEngine.compare(), main(config_file) | Orchestrates canonicalization, model/Ybus comparison, state metrics, insights and final ComparisonReport. |
| config.py | process_config(), Config, load_metric_definitions() | Loads YAML and metric CSV, validates types/tolerances, and checks paths/formats. |
| canonicalization/parser.py | canonicalize_cases(config) | Dispatches to a source adapter and saves canonical exports if enabled. |
| canonicalization/matpower.py | mp_to_canonical(), mat_to_pp() | Maps MATPOWER arrays to Panda Power entities, including shunts and slack assumptions. |
| canonicalization/Panda Power.py | pp_to_canonical(), canonicalize_impedance(), update_res_gen(), validate_net() | Normalizes lines/transformers, branch ordering and generator results. |
| comparison/model_checker.py | convert_to_ppc(), compute_ybus_matric(), match_model(), determine_model_match() | PPC conversion, Ybus gate, counts, model metadata diagnostics. |
| comparison/ybus_comparator.py | compare_ybus() | Sparse shape/pattern/value comparison; avoids densifying Ybus. |
| comparison/metadata_comparator.py | SafeFormula, compare_arrays(), compare_scope_asset(), group_definitions() | Safe formula AST (abstract syntax tree) and vectorized exact/absolute/angle comparisons with statistics. |
| comparison/metadata_adapters.py | run_metadata_comparisons(), rank_metadata() | Extracts PPC/Panda Power arrays and maps metric definitions to results. |
| comparison/state_checker.py | run_power_flow_comparison(), compare_system_metrics() | Per-state metadata comparisons and system-level P/Q/loss/balance/extrema. |
| insights/* | generate_insights(), generate_statistical_insights(), generate_investigation_priorities() | Deterministic summary messages, patterns and investigation ranking. |
| reporting/* | write_reports(), generate_statistical_insights_html(), export_side_by_side_comparator(), generate_ai_insight_report() | Text, HTML, XLSX and optional evidence-grounded AI reporting. |

## 7.2 Complexity and memory analysis

| Operation | Complexity |
| --- | --- |
| Canonical parsing and row normalization | O(N + E + G + L) in typical tabular passes, where N buses, E branches, G generators, L loads; parser-specific conversions may be more costly. |
| Dense vector metric difference | O(N) per metric; k metrics => O(kN). |
| Statistical aggregation | Mean/count/min/max are O(N); percentiles/MAD and unique affected-ID counts may be O(N log N) depending on implementation. |
| Sparse Ybus pattern comparison | Approximately O(nnz_A + nnz_B) for sparse operations under typical CSR behavior. |
| Report generation | O(number of metric results + reported details); Excel row expansion can be O(asset_count × metric_count). |

## 7.3 Scaling from 1k to 100k+ buses

The current implementation uses several scalable aspects:

- NumPy vectorization for metric arrays,

- sparse CSR Ybus processing,

- grouped metric extraction,

- finite masks and

- top-N ranking rather than verbose output for every mismatch by default.

These patterns will scale more predictably than per-asset Python loops or dense matrix comparison.

However, future enhancements could include:

Calculate multiple metrics from shared arrays – followed mostly, but has scope for improvement

Use multiprocessing only for sufficiently large independent per-scope/asset jobs after measuring serialization and start-up overhead.

## 8 Assumptions, Limitations and Future Work

- A1. Assumes one-to-one bus correspondence

- A2. Assumes metric units and modelling conventions are identical

- L1. Limited error handling

- L2. Poor test coverage and release confidence

- L3. Under-utilized parallel power.

- F1. Expand to additional input formats

- F2. Strengthen alignment, asset-identity and duplicate-key detection and comparability of power-flow files.

- F3. Graph-based insights to identify the clusters with highest mismatches.

- F4. Continuous improvement to insights towards root-cause identification.

- F5. Improve canonicalization by building more adapters

- F6. Allow user to add/modify statistics and aggregations from the compared metrics

- F7. Measure and improve scalability

- F8. If required by a future use case,  generate a set of reference power-flow results to rank one solution over the other

# 9. AI Assistance

## 9.1 AI-Assisted Development and Engineering Ownership

AI-based large language models (LLMs) were primarily used as development aids to explore and challenge my ideas, accelerate implementation within the available development time and to build first draft of documentation.

The underlying problem formulation, comparison philosophy, design objectives, architecture, engineering approach, engineering judgements and pseudocode originated with me. LLM outputs were used as references or implementation suggestions rather than treating generated code as a blind drop-in solution. For and code taken from LLM, its logic was reviewed, vetted against the intended design, and improvised where necessary.

## 9.2 Prompt and conversation provenance

Copilot: GlobalLogic Assignment

Code: ChatGPT

Documentation: chatgpt

# ANNEX I: Sample HTML and Text report